## Building
Bagmane Developers Pvt. Ltd. Integrated Management System Building Inspection Checklist | [7 empty] | Document Number: BDPL IMSP 12 F-02 (A) | NA | 1 | 0
Revision Date: January 16, 2024
Rev No.: 02
Campus/ Building: |  |  | Date of Audit: | Audit Number: |  | Audit Conducted By: |  | Auditee Name:
Section / Area | Sl. No. | Description | Max. Permissible Points | Applicability (Applicable - 1 Not Applicable - NA) | Score Yes (1), No (0) | Total Score | Observation | Recommendations / Remarks | Upload photos
LT Room | 1 | Physical inspection of room and panels for cleanliness | 0 |  |  | 0
| 2 | Inspection of documents - Log Sheets/ Checklists, History card, PM Schedule, PM Service Reports, Test Reports, O&M Manuals, SOP, Work Instructions, Emergency Procedures | 0 |  |  | 0
| 3 | Availability and display of statutory & operational documents and drawings | 0 |  |  | 0
| 4 | Master Single Line Diagram, As built diagrams, Single Line Diagram for UPS and Electrical distribution available and displayed in Electrical Room | 0 |  |  | 0
| 5 | Safety - Access control system/ Entry Register, safety signage, fire safety equipment, PPE, Safety Mats (available and in good condition with valid test certificates) | 0 |  |  | 0
| 6 | Are suitable Fire Extinguishers for electrical fires and smoke detectors available | 0 |  |  | 0
| 7 | Is the electrical inspectorate safety certificate available at site. | 0 |  |  | 0
| 8 | Are the defects identified by electrical inspector and any other inspections/ audit has been rectified. | 0 |  |  | 0
| 9 | No fire prone and other foreign material stored in electrical rooms. | 0 |  |  | 0
| 10 | Are Emergency lights available | 0 |  |  | 0
Transformer yard | 1 | Physical inspection of yard, transformers and panels | 0 |  |  | 0
| 2 | Inspection of documents - Log Sheets/ Checklists, History card, PM Schedule, PM Service Reports, Test Reports, O&M Manuals, SOP, Work Instructions, Emergency Procedures | 0 |  |  | 0
| 3 | Safety - Access control system/ Entry Register, safety signage, fire safety equipment, PPE, Safety Mats (available and in good condition with valid test certificates) | 0 |  |  | 0
| 4 | Availability and display of statutory & operational documents and drawings | 0 |  |  | 0
| 5 | Are suitable Fire Extinguishers for electrical fires available | 0 |  |  | 0
| 6 | Is the electrical inspectorate safety certificate available at site. | 0 |  |  | 0
| 7 | Are the defects identified by electrical inspector and any other inspections/ audit has been rectified. | 0 |  |  | 0
| 8 | No oil leakage in case of oil cooled Trans. | 0 |  |  | 0
| 9 | Yard fencing is earthed. | 0 |  |  | 0
| 10 | Are Emergency lights available | 0 |  |  | 0
DG Room | 1 | Physical inspection of room and DG sets for cleanliness | 0 |  |  | 0
| 2 | Inspection of documents - Log Sheets/ Checklists, History card, PM Schedule, PM Service Reports, Test Reports, O&M Manuals, SOP, Work Instructions, Emergency Procedures | 0 |  |  | 0
| 3 | Availability and display of statutory & operational documents and drawings | 0 |  |  | 0
| 4 | Is pollution board clearance and stack emission records available | 0 |  |  | 0
| 5 | Safety - Access control system/ Entry Register, safety signage, flanging, fire safety equipment, PPE, Safety Mats (available and in good condition with valid test certificates) | 0 |  |  | 0
| 6 | Loading pattern of DG is maintained < 80% | 0 |  |  | 0
| 7 | Availability of diesel at site for min. 12 hours operation | 0 |  |  | 0
| 8 | Sound level normal and acceptable level while the D.G. is in operation | 0 |  |  | 0
| 9 | External Auxiliaries supports are not rusted and in good condition | 0 |  |  | 0
| 10 | Critical spares for D.G. available at site | 0 |  |  | 0
| 11 | Are records available for proper disposable of used oil and old batteries. | 0 |  |  | 0
| 12 | Are the defects identified by electrical inspector and any other inspections/ audit has been rectified. | 0 |  |  | 0
| 13 | Fuel Supply Vendor details available at site (Details of nearby place for purchasing the fuel in case of emergency is available) | 0 |  |  | 0
| 14 | Fuel conumption data details available . | 0 |  |  | 0
| 15 | Is there any backup plan if DG fails to start or stops while in operation | 0 |  |  | 0
| 16 | No HSD/ Oil leakage/ spillage observed | 0 |  |  | 0
| 17 | Spill Kit availability with all materials and tracker | 0 |  |  | 0
| 18 | No fire prone and other foreign material stored | 0 |  |  | 0
| 19 | Flameproof Lightings provided | 0 |  |  | 0
| 20 | Are Emergency lights available | 0 |  |  | 0
HSD yard | 1 | Physical inspection of the yard and equipment | 0 |  |  | 0
| 2 | Inspection of documents - Log Sheets/ Checklists, History card, PM Schedule, PM Service Reports, Test Reports, O&M Manuals, SOP, Work Instructions, Emergency Procedures | 0 |  |  | 0
| 3 | Availability and display of statutory (PESO License) & operational documents and drawings | 0 |  |  | 0
| 4 | Safety - Access control system/ Entry Register, safety signage, flanging, fire safety equipment, PPE, Safety Mats (available and in good condition with valid test certificates) | 0 |  |  | 0
| 5 | Fuel Supply Vendor details available at site (Details of nearby place for purchasing the fuel in case of emergency is available) | 0 |  |  | 0
| 6 | Tracker for fuel movement (in & out) available | 0 |  |  | 0
| 7 | Is Static Discharge Plate available | 0 |  |  | 0
| 8 | No HSD leakage/ spillage | 0 |  |  | 0
| 9 | No fire prone and other foreign material stored | 0 |  |  | 0
| 10 | Flameproof Lightings provided | 0 |  |  | 0
Lift Machine Room | 1 | Physical inspection of room, equipments and lift pits for cleanliness | 0 |  |  | 0
| 2 | Inspection of documents - Log Sheets/ Checklists, History card, PM Schedule, PM Service Reports, Test Reports, O&M Manuals, SOP, Work Instructions, Emergency Procedures | 0 |  |  | 0
| 3 | Availability and display of statutory & operational documents and drawings | 0 |  |  | 0
| 4 | Safety - Access control system/ Entry Register, safety signage, flanging, fire safety equipment, PPE, Safety Mats (available and in good condition with valid test certificates) | 0 |  |  | 0
| 5 | Are the defects identified during lift inspections and audits has been rectified. | 0 |  |  | 0
| 6 | Are proper good quality signages like under maintenance, switched off, do not use etc. available | 0 |  |  | 0
| 7 | Are the emergency operation procedures, escalation matrix and safety instructions available and displayed at all lift cars and lift machine room | 0 |  |  | 0
| 8 | Service call records are updated and records for testing of over speed trip, door safety mechanismsavailable | 0 |  |  | 0
| 9 | Lift floor indicators, call button lights, fans, emergency lights, lift communication system (telephone), Door closing protection ( Photo sensor or pads), Automatic rescue device and Fireman Lift are working good and healthy | 0 |  |  | 0
| 10 | Are floor identification marks provided in the ropes for identification of floor during manual rescue operations | 0 |  |  | 0
| 11 | Are the lifts operating without any vibrations and jerks and lifts floor alignment is within acceptable limits in all floors. | 0 |  |  | 0
| 12 | Lift operators are trained to handle emergency operations | 0 |  |  | 0
| 13 | Are emergency critical spares available at site | 0 |  |  | 0
| 14 | Availability of guarding for rotating parts | 0 |  |  | 0
| 15 | Are Emergency lights available | 0 |  |  | 0
Chiller Plant | 1 | Physical inspection of room, platform and equipment | 0 |  |  | 0
| 2 | Inspection of documents - Log Sheets/ Checklists, History card, PM Schedule, PM Service Reports, Test Reports, O&M Manuals, SOP, Work Instructions, Emergency Procedures | 0 |  |  | 0
| 3 | Availability and display of statutory & operational documents and drawings | 0 |  |  | 0
| 4 | Safety - Access control system/ Entry Register, safety signage, flanging, fire safety equipment, PPE, Safety Mats (available and in good condition with valid test certificates) | 0 |  |  | 0
| 5 | Are the defects identified during inspections and audits has been rectified. | 0 |  |  | 0
| 6 | List of chemicals used along with Safety Data Sheets and COSHH are available | 0 |  |  | 0
| 7 | Availability of Eye wash stations and eye wash bottles near chemical storage area and if bottles used, is the water replinished everyday | 0 |  |  | 0
| 8 | Change in chilled water set temp. based on ambient conditions and other operational requirements. | 0 |  |  | 0
| 9 | Availability of guarding for rotating parts | 0 |  |  | 0
| 10 | Are emergency critical spares available at site | 0 |  |  | 0
BMS Room | 1 | Check for fault & alarm condition | 0 |  |  | 0
| 2 | Inspection of documents - Log Sheets/ Checklists, History card, PM Schedule, PM Service Reports, Test Reports, O&M Manuals, SOP, Work Instructions, Emergency Procedures | 0 |  |  | 0
| 3 | Availability and display of statutory & operational documents and drawings | 0 |  |  | 0
| 4 | Are the defects identified during inspections and audits has been rectified. | 0 |  |  | 0
| 5 | Safety - Access control system/ Entry Register, safety signage, flanging, fire safety equipment, PPE, Safety Mats (available and in good condition with valid test certificates) | 0 |  |  | 0
STP Room | 1 | Physical inspection of room and equipment for cleanliness | 0 |  |  | 0
| 2 | Inspection of documents - Log Sheets/ Checklists, History card, PM Schedule, PM Service Reports, Test Reports, O&M Manuals, SOP, Work Instructions, Emergency Procedures | 0 |  |  | 0
| 3 | Availability and display of statutory & operational documents and drawings | 0 |  |  | 0
| 4 | Safety - Access control system/ Entry Register, safety signage, fire safety equipment, PPE, Safety Mats (available and in good condition with valid test certificates) | 0 |  |  | 0
| 5 | Inspect healthiness of fresh air & exhaust system | 0 |  |  | 0
| 6 | Is the approval certificate from Pollution Control Board, water effluents test report available at site. | 0 |  |  | 0
| 7 | Are the defects identified during inspections and audits has been rectified. | 0 |  |  | 0
| 8 | Inspect grease trap | 0 |  |  | 0
| 9 | List of chemicals used along with Safety Data Sheets and COSHH available | 0 |  |  | 0
| 10 | Availability of Eye wash stations and eye wash bottles near chemical storage area and if bottles used, is the water replinished everyday | 0 |  |  | 0
| 11 | Availability of guarding for rotating parts | 0 |  |  | 0
| 12 | All required PPEs are used inside the STP | 0 |  |  | 0
| 13 | Schedule for cleaning of tanks is available and conducted accordingly | 0 |  |  | 0
| 14 | Are pumps & Blowers in working condition | 0 |  |  | 0
| 15 | Whether the average daily consumption of treated water is recorded | 0 |  |  | 0
Pump room | 1 | Physical inspection of room and equipment for cleanliness | 0 |  |  | 0
| 2 | Inspection of documents - Log Sheets/ Checklists, History card, PM Schedule, PM Service Reports, Test Reports, O&M Manuals, SOP, Work Instructions, Emergency Procedures | 0 |  |  | 0
| 3 | Availability and display of statutory & operational documents and drawings | 0 |  |  | 0
| 4 | Are the defects identified during inspections and audits has been rectified. | 0 |  |  | 0
| 5 | Safety - Access control system/ Entry Register, safety signage, fire safety equipment, PPE, Safety Mats (available and in good condition with valid test certificates) | 0 |  |  | 0
| 6 | All valves, gauges, pipes, fittings and alarm systems free from signs of physical damage and leakages | 0 |  |  | 0
| 7 | All fire pumps to be in auto mode | 0 |  |  | 0
| 8 | Is fire engine battery condition and diesel tank level maintained at acceptable levels | 0 |  |  | 0
| 9 | Is water in fire sumps maintained above 80% | 0 |  |  | 0
| 10 | Availability of guarding for rotating parts | 0 |  |  | 0
Fire Prevention and Protection | 1 | Fire extinguishers properly mounted, located, and identified. | 0 |  |  | 0
| 2 | Fire extinguishers adequate in number and type. | 0 |  |  | 0
| 3 | Fire extinguishers inspected, recharged, and maintained as required. | 0 |  |  | 0
| 4 | Fire aisles, exitways, stairways, and fire equipment kept unobstructed. | 0 |  |  | 0
| 5 | Exit lights properly illuminated and emergency lighting operable. | 0 |  |  | 0
| 6 | Fire doors not blocked open or are on magnets connected to fire alarm system. | 0 |  |  | 0
| 7 | Flammable liquids stored in approved safety cans. | 0 |  |  | 0
| 8 | Flammable liquid containers kept closed when not in use. | 0 |  |  | 0
| 9 | Connections on drums and combustible liquid piping leak free. | 0 |  |  | 0
| 10 | Proper storage of flammable/combustible materials to reduce risk of fire. | 0 |  |  | 0
| 11 | Oily/greasy rags placed properly in containers. | 0 |  |  | 0
| 12 | Sprinkler heads clean and no storage within 18 inches. | 0 |  |  | 0
| 13 | Sprinkler heads protected by metal guards when exposed to physical damage. | 0 |  |  | 0
| 14 | Check for fault & alarm condition | 0 |  |  | 0
| 15 | Do all fire extinguishers bear the classification markings and inspections and due dates marked on the extinguishers. | 0 |  |  | 0
| 16 | Are the records maintained for fire audits. | 0 |  |  | 0
| 17 | Emergency evacuation floor drawings | 0 |  |  | 0
| 18 | List of emergency exits and identification with numbers. | 0 |  |  | 0
| 19 | List of smoke detectors, sprinklers, hydrants, extinguishers with respect to area and type | 0 |  |  | 0
| 20 | Are floor evacuation layouts prominently displayed. | 0 |  |  | 0
Hazardous/ E-waste room | 1 | Physical inspection of room for cleanliness and proper segregation with secondary containers | 0 |  |  | 0
| 2 | Designated Waste storage areas (bins, totes) | 0 |  |  | 0
| 3 | Waste containers properly labeled | 0 |  |  | 0
| 4 | Waste containers kept closed except when adding waste. | 0 |  |  | 0
| 5 | Used oil collected and stored separate for disposal | 0 |  |  | 0
| 6 | E-Waste (lights, chokes, capacitors monitors, TVs, circuit boards, etc.) stored separate and managed properly. | 0 |  |  | 0
| 7 | Biohazardous waste managed & stored properly for disposal. | 0 |  |  | 0
| 8 | Display Hazardous/ E-Waste consent & availability of Statutory forms to be checked | 0 |  |  | 0
| 9 | Display of Form-8 on each containers | 0 |  |  | 0
| 10 | Reports and Trackers availability | 0 |  |  | 0
Garbage/ OWC rooms | 1 | Physical inspection of room for cleanliness | 0 |  |  | 0
| 2 | Display consent & availability of Statutory forms | 0 |  |  | 0
| 3 | Garbage storage areas are kept clean | 0 |  |  | 0
| 4 | Dumpster areas are kept free of litter and lids are closed | 0 |  |  | 0
| 5 | OWC condition | 0 |  |  | 0
| 6 | Reports and Trackers availability | 0 |  |  | 0
| 7 | Trash storage containers that are not covered with roof are moved inside during rain fall | 0 |  |  | 0
| 8 | Liquid containers are inspected regularly for cracks, or leaky seams | 0 |  |  | 0
| 9 | Liquid containers are kept out of pooled or standing water; | 0 |  |  | 0
| 10 | Team is aware of Waste disposal procedure | 0 |  |  | 0
Toilet | 1 | Physical inspection for cleanliness | 0 |  |  | 0
| 2 | Scheduled cleaning of drains and sewers and tanks | 0 |  |  | 0
| 3 | Provision of sensors in toilets | 0 |  |  | 0
| 4 | Condition of sanitary and CP fixtures | 0 |  |  | 0
Fresh air, Exhaust fans | 1 | Physical inspection and status | 0 |  |  | 0
| 2 | Availability of guarding for rotating parts | 0 |  |  | 0
| 3 | Inspection of documents - Log Sheets/ Checklists, History card, PM Schedule, PM Service Reports, Test Reports, O&M Manuals, SOP, Work Instructions | 0 |  |  | 0
CCTV System | 1 | Check the system, all camera should be in working condition | 0 |  |  | 0
Reception / Lobby | 1 | Cleanliness and lighting | 0 |  |  | 0
| 2 | Are Emergency lights available | 0 |  |  | 0
House Keeping | 1 | Manpower allocation / location ( shift wise) and is the attendance tracked | 0 |  |  | 0
| 2 | Do supervisors maintain daily report | 0 |  |  | 0
| 3 | Is Lost / found register maintained | 0 |  |  | 0
| 4 | Is daily briefing carried out by supervisors | 0 |  |  | 0
| 5 | Is there a schedule for cleaning toilets and is toilet checklist being followed | 0 |  |  | 0
| 6 | Is there a vacuuming process in place | 0 |  |  | 0
| 7 | Is the façade cleaning schedule in place | 0 |  |  | 0
| 8 | Sufficiency of cleaning materials & machinery provided by Vendor | 0 |  |  | 0
| 9 | Availability of records for consumables and chemicals maintained at site along with MSDS & COSHH | 0 |  |  | 0
| 10 | Is segregation of wet and dry waste maintained. | 0 |  |  | 0
| 11 | Are records of waste disposal maintained at site. | 0 |  |  | 0
| 12 | Cleaning and clearing of debris from drain pits | 0 |  |  | 0
| 13 | Availability of Eye wash stations and if bottles used, is the water replinished everyday | 0 |  |  | 0
| 14 | Is non-bio degradable waste segregated at source. | 0 |  |  | 0
| 15 | Display of Maintenance signages by HK Team | 0 |  |  | 0
Pest Control | 1 | Manpower allocation / location ( shift wise) and is the attendance tracked | 0 |  |  | 0
| 2 | Check on spraying of anti fly and anti mosquito chemicals by pest control team | 0 |  |  | 0
| 3 | Availability of records for consumables and chemicals maintained at site along with MSDS & COSHH | 0 |  |  | 0
| 4 | Leaves and litters are cleared from gutters | 0 |  |  | 0
| 5 | Use of proper PPE's by operators | 0 |  |  | 0
Horticulture | 1 | Manpower allocation / location ( shift wise) and is the attendance tracked | 0 |  |  | 0
| 2 | Is there a check of application of fertilizers / chemicals for plants | 0 |  |  | 0
| 3 | Availability of records for consumables and chemicals maintained at site along with MSDS & COSHH | 0 |  |  | 0
| 4 | Are records of waste disposal maintained at site. | 0 |  |  | 0
| 5 | Is segregation of waste maintained. | 0 |  |  | 0
Security | 1 | Manpower allocation / location ( shift wise) and is the attendance tracked | 0 |  |  | 0
| 2 | Do supervisors maintain daily report | 0 |  |  | 0
| 3 | Is Lost / found register maintained | 0 |  |  | 0
| 4 | Is daily briefing carried out by supervisors | 0 |  |  | 0
| 5 | Is there a schedule for patrolling and checklist being followed | 0 |  |  | 0
| 6 | Is there a log record of all personnel entering and exiting the site? Are records of visitor, vendor and vehicle entry maintained at site. | 0 |  |  | 0
| 7 | Are records of material movement (In & Out) maintained at site. | 0 |  |  | 0
| 8 | Are records of work permits being maintained | 0 |  |  | 0
| 9 | Are all security personnel trained in the emergency procedure? | 0 |  |  | 0
| 10 | Are awareness sessions for guards given and records being maintained | 0 |  |  | 0
| 11 | Display of warning signages wherever required | 0 |  |  | 0
| 12 | Is there a traffic Management Plan on site | 0 |  |  | 0
| 13 | Are traffic routes signed and clear around site | 0 |  |  | 0
| 14 | Is the lighting adequate on all road ways | 0 |  |  | 0
| 15 | Is the pedestrian walk ways unobstructed and free from hazards? | 0 |  |  | 0
Stores | 1 | List of consumables, tools, equipments, machineries used on site along with tracker and movement register | 0 |  |  | 0
| 2 | List of vendors of each items with contact details | 0 |  |  | 0
| 3 | List of alternate vendors for every items | 0 |  |  | 0
| 4 | Are consumption tracked and analysis done on monthly consumption | 0 |  |  | 0
| 5 | Balance stock in hand for the month for each items | 0 |  |  | 0
External Area | 1 | Status of external driveway, walkways, parking areas (Physical inspection for cleanliness, signages, slot marking, numbering, Identification) | 0 |  |  | 0
| 2 | Status of landscape (lawns & gardens) | 0 |  |  | 0
| 3 | No Cracks / fissures noticed in walls and external façade | 0 |  |  | 0
| 4 | No masonry cracks in pathways and walkways | 0 |  |  | 0
| 5 | Rooftop gutters and down spouts are checked for clogging | 0 |  |  | 0
| 6 | Rooftop equipment such as generators and HVAC equipment are inspected for leaks | 0 |  |  | 0
| 7 | Condition of yard hydrant, building safety signages (incl. safe assembly area) | 0 |  |  | 0
| 8 | Storage of unwanted material and scrap/ debris | 0 |  |  | 0
| 9 | Boom barrier condition | 0 |  |  | 0
| 10 | Does the outside of the building present any obvious safety concerns? | 0 |  |  | 0
Basement & covered parking areas | 1 | Physical inspection for cleanliness, sufficient lighting & ventilation | 0 |  |  | 0
| 2 | Signage conditions | 0 |  |  | 0
| 3 | Availability of extinguishers | 0 |  |  | 0
| 4 | Litters, unwanted materials, scrap and debris are picked up frequently and stored properly in designated areas for disposal | 0 |  |  | 0
| 5 | Any seepage in basement structure | 0 |  |  | 0
| 6 | Any leakages for shafts, ground/ retaining wall, etc | 0 |  |  | 0
| 7 | Access and egress provisions are safe and fire escape routes steps monitored for any obstructions | 0 |  |  | 0
| 8 | Signs are posted to control litter and prevent patrons from working with automobile fluid in the parking lot | 0 |  |  | 0
| 9 | Parking slot marking / numbering / Identification | 0 |  |  | 0
| 10 | Are stairs and handrails secure and treads firmly attached to steps? | 0 |  |  | 0
Awareness | 1 | Awareness on ISO Procedures, systems and checklists available for their respective job | 0 |  |  | 0
| 2 | Are all Workers trained and competent for their particular task? | 0 |  |  | 0
| 3 | Updated skill matrix and any deviation from the required competency matrix | 0 |  |  | 0
| 4 | Are all Staff aware of their duties and responsibilities in Safety and Operations? | 0 |  |  | 0
| 5 | Are all staffs completed the “General Workplace Safety Induction”? | 0 |  |  | 0
| 6 | Are all awareness session / training records being maintained | 0 |  |  | 0
| 7 | Do site management attend and deliver TBTs? | 0 |  |  | 0
| 8 | Are the operation's staff trained in first aid? | 0 |  |  | 0
| 9 | Is training provided on the use of PPE? | 0 |  |  | 0
| 10 | Knowledge on the systems installed at site – Air conditioning, Generators, Electrical, BMS, UPS, Lifts, Fire Protection Systems | 0 |  |  | 0
Chemical Storage and Safety | 1 | List of Chemicals used on site along with tracker | 0 |  |  | 0
| 2 | Chemical containers properly labeled, stored, & closed when not in use. | 0 |  |  | 0
| 3 | Chemicals segregated and stored by compatibility and storage area is free of ignition sources | 0 |  |  | 0
| 4 | Are Safety Data Sheets (SDS) and COSHH available for all chemicals? | 0 |  |  | 0
| 5 | Is the use of chemicals subject to risk assessment? | 0 |  |  | 0
Gas Cylinders Safety | 1 | Gas cylinders legibly marked as to their contents. | 0 |  |  | 0
| 2 | Gas cylinders stored in secure area and away from high heat, flames, etc. and also secured from tipping or falling. | 0 |  |  | 0
| 3 | Is the number of cylinders inside the warehouse kept to a storage limit? | 0 |  |  | 0
| 4 | Are cylinders securely restrained? Are trolleys used? | 0 |  |  | 0
| 5 | Valve protectors used when cylinders not in use or when being transported. | 0 |  |  | 0
| 6 | Gas cylinders, valves, couplings, regulators kept free of oil and grease. | 0 |  |  | 0
| 7 | Are gas systems periodically pressure & leak tested? | 0 |  |  | 0
| 8 | Gas cylinders hydrotested at appropriate intervals | 0 |  |  | 0
| 9 | Are flash back arrestors installed? | 0 |  |  | 0
| 10 | Empty gas cylinders labeled "Empty," valves closed, and caps on. | 0 |  |  | 0
Electrical Safety | 1 | Extension cords are not used as permanent wiring. | 0 |  |  | 0
| 2 | Extension cords and power strips not daisy-chained one to another. | 0 |  |  | 0
| 3 | Electrical cords not under carpets/rugs, through doorways, or high traffic areas. | 0 |  |  | 0
| 4 | Multi-outlet power strips have circuit breakers. | 0 |  |  | 0
| 5 | Power cords are in good condition with no splices or broken insulation. | 0 |  |  | 0
| 6 | Circuit breaker panels and emergency shut offs unobstructed and labeled. | 0 |  |  | 0
| 7 | Electrical outlets not overloaded with appliances, i.e. splitters used. | 0 |  |  | 0
| 8 | Ground Fault Interrupters installed, labeled and operating correctly. | 0 |  |  | 0
| 9 | Are all panels earthed, covered and warning signs displayed? | 0 |  |  | 0
| 10 | Energized parts, circuits, and equipment guarded against accidental contact. | 0 |  |  | 0
Personal Protective Equipment (PPE) | 1 | Is the correct PPE (eye, face, hand, hearing, foot, protection, respirator and protective clothing (coveralls, aprons, etc)) available for the task and used ? | 0 |  |  | 0
| 2 | PPE is properly stored, clean and in good and hygeinic condition. | 0 |  |  | 0
| 3 | Are all employees following the PPE rules? (Including Storage, Sharing, Sanitazition, Wearing, etc…) | 0 |  |  | 0
| 4 | Has the need for personal protective equipment been assessed? | 0 |  |  | 0
| 5 | List of PPE along with tracker and inspection reports and feedback forms is available | 0 |  |  | 0
Safety Equipment and Safety Preparedness | 1 | Eyewash station/ shower unobstructed and inspected as required and available within 100 ft. and 10 second travel time from chemical storage area. | 0 |  |  | 0
| 2 | Appropriate spill control kit available and stocked | 0 |  |  | 0
| 3 | Spill & accident reporting procedures understood by personnel. | 0 |  |  | 0
| 4 | Are the emergency access routes displayed? | 0 |  |  | 0
| 5 | Are the emergency contact numbers (names and contact numbers of personnel involved in HSE like first aiders, ERT members, displayed around the site? | 0 |  |  | 0
| 6 | First aid Kit available with required materials and proper tracking of usage and ensured no expired materials stored | 0 |  |  | 0
| 7 | Availability and inspection of Wheel chair, Evacuation Chair & Stretcher | 0 |  |  | 0
| 8 | Physical condition of ERT station and availability of materials | 0 |  |  | 0
| 9 | Appropriate signs posted (First aid kit, safety shower, fire extinguisher, etc.). | 0 |  |  | 0
| 10 | Preparedness to handle Fire equipment in emergencies | 0 |  |  | 0
| 11 | Preparedness to handle and rescue lift passengers | 0 |  |  | 0
| 12 | Preparedness to handle power failures | 0 |  |  | 0
| 13 | Preparedness to handle No water situations | 0 |  |  | 0
| 14 | Preparedness to Off-duty hours emergencies | 0 |  |  | 0
| 15 | Conducting of evacuation drills. | 0 |  |  | 0
Miscellaneous | 1 | Inspection of Access equipments (Ex: Ladder, scaffolds, cradles) | 0 |  |  | 0
| 2 | No food or beverages unless adequately separated from hazard areas. | 0 |  |  | 0
| 3 | All areas properly illuminated. Glare and reflections avoided. Is the lux level maintained higher than the actual operational requirements or standards at all areas | 0 |  |  | 0
| 4 | Noise levels are within acceptable limits or engineering controls established. | 0 |  |  | 0
| 5 | Areas with high noise levels posted and hearing protection required to be used. | 0 |  |  | 0
| 6 | Work areas maintained clean, sanitary, and orderly. (garbage disposed properly, etc.) | 0 |  |  | 0
| 7 | Work area properly ventilated for type of equipment or chemicals in use. | 0 |  |  | 0
| 8 | Vacuum systems used when possible instead of blowing or sweeping dusts. | 0 |  |  | 0
| 9 | Temperature and humidity seem to be within acceptable ranges. | 0 |  |  | 0
| 10 | Areas free of visible fungal/mold growth and associated odors. | 0 |  |  | 0
| 11 | Walls ceilings, floors free of signs of mold or moisture damage. | 0 |  |  | 0
| 12 | Air intake areas free of odor causing materials or hazardous chemicals. | 0 |  |  | 0
| 13 | All sharp edges are identified and masked with proper signages | 0 |  |  | 0
| 14 | All trip hazards identified and necessary actions taken with proper signages | 0 |  |  | 0
| 15 | Safety Cross is available and marked with all required details | 0 |  |  | 0
| 16 | Labelling of all equipments, panels, breakers, switches are done | 0 |  |  | 0
| 17 | No abnormalities (vibration/ noise/ temp) is observed during operation | 0 |  |  | 0
| 18 | Are the cable tray supports in good condition and not rusted, and are the cables properly positioned in the trenches and on the tray and covered properly? | 0 |  |  | 0
| 19 | No water seepage in the cable trench and the cable entry points are sealed properly. | 0 |  |  | 0
| 20 | Are latest version of IMS Procedures and formats followed at site | 0 |  |  | 0
| 21 | Inspect all statutory documents to ensure all licenses are valid and legal requirements are met. Training given to the team on amendments/corrections to the legal requirements | 0 |  |  | 0
| 22 | Are nonconformances reported being analysed and investigation conducted along with tracking the status of the corrective actions? | 0 |  |  | 0
| 23 | Inspect status of work equipments along with related service reports and log sheet/checklists are being maintained with proper filling and validations | 0 |  |  | 0
| 24 | All equipments, tools, energy meters & relays are calibrated along with valid calibration reports | 0 |  |  | 0
| 25 | Inspect incident reports register and corrective action taken along with recommendations of Incident investigations Are root cause analysis techniques employed to determine the underlying causes of incidents? Are corrective and preventive actions implemented following incident investigations and the progress of these actionsare monitored and tracked? | 0 |  |  | 0
| 26 | Are employees trained on nonconformance and incident response procedures and their roles during and after incidents? | 0 |  |  | 0
| 27 | Are Safety Committee Meetings conducted every month and MOM being recorded | 0 |  |  | 0
| 28 | Are Safety Suggestions, unsafe acts and unsafe conditions observed being actioned upon | 0 |  |  | 0
| 29 | Are pending MRM agenda points actioned upon | 0 |  |  | 0
| 30 | Mock Drill Reports and status of observations along with corrective actions taken | 0 |  |  | 0
| 31 | Adherence to PPM schedules - Check PPM schedule versus completion | 0 |  |  | 0
| 32 | Check complaints register and verified reason for open complaints with necessary actions | 0 |  |  | 0
| 33 | Check portable extinguishers randomly and ensure inspection tag is updated | 0 |  |  | 0
| 34 | Any major pending works to action upon | 0 |  |  | 0
| 35 | Physical inspection of all stair cases & terrace | 0 |  |  | 0
| 36 | Overall grooming of staff and safety shoes are in acceptable condition | 0 |  |  | 0
| 37 | Manpower availability after crosschecking with register (Technical , Security, Housekeeping, Gardeners, STP Operator, Fire Technicians,etc..) | 0 |  |  | 0
| 38 | Signage's for switching off lights when not required by the users. | 0 |  |  | 0
| 39 | Availability of basic and adequate tools to handle routine tasks and torch light with staff | 0 |  |  | 0
| 40 | Are safety measures/procedures being followed | 0 |  |  | 0
| 41 | Are EHS performance monitoring data being maintained and matches with the actuals | 0 |  |  | 0
| 42 | Is staff reactive in case of Fire Alarm and are they trained on Fire Emergency | 0 |  |  | 0
| 43 | Earthing for all equipments are done and in good condition | 0 |  |  | 0
| 44 | Periodicity and availability of records for Earth Value Checking | 0 |  |  | 0
| 45 | Availability of critical spares at site | 0 |  |  | 0
| 46 | Availability of list of AMC, Contractor and vendor with details | 0 |  |  | 0
| 47 | Check work permits randomly for proper filling and closure with all required related documents, reports, registers, trackers, risk assessment (JSA) maintained and LOTOTO procedure followed | 0 |  |  | 0
| 48 | Check for any Unsafe Acts, Unsafe Conditions, near misses/ incidents and actions taken on the reported cases | 0 |  |  | 0
| 49 | Are proper good quality signages like under maintenance, switched off, do not use etc. available | 0 |  |  | 0
| 50 | Are staff suitably qualified and certified for the specific jobs and is job description available for each of them | 0 |  |  | 0
Total Maximum Permissible Points |  |  | 0 | Total Score: |  | 0 | Total Score Percentage: | #DIV/0!
Other Observations and Recommendations
Sl. No. | Observations | [5 empty] | Recommendations
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Signatures (with Name Date & Time): | Auditor: | [5 empty] | Auditee:

## Document - Reference
Bagmane Developers Pvt. Ltd. Integrated Management System IMS Reference Checklist | [14 empty] | Document Number: BDPL IMSP 12 F-02 (B)
Revision Date: January 16, 2024
Rev No.: 02
Campus/ Building: |  |  | Date of Audit: |  |  | Audit Number: |  |  |  | Audit Conducted By: |  |  |  |  | Auditee Name: |  |  | NA | 1 | 0
Requirements |  | ISO Standards |  |  | Which functions/ areas to verify the requirements (Filter as per target department) | [12 empty] | NA | Blank
Area of IMS | Parameter of Evaluation | 9001:2015 | 14001:2015 | 45001:2018 | Security | Housekeeping | Maintenance | Food Court/ F&B | HR/ ADM | Leasing | EHS | Stores | Procurement | Property Manager (Ops/ CRM) | MR | Guidelines for Auditors for Compliance. (Else it will be a non compliance) | Observations
Context of the Organisation | Are the issues of organisatoin determined and recorded by the top management | 4.1 | 4.1 | 4.1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | Yes | Look at internal and external issues for all factors for the corporate prepared by the Top Management Core Team.
| Are interested Party Needs determined and compliance obligations identified | 4.2 | 4.2 | 4.2 | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | Yes | Look for all possible interested parties that are relevant to IMS and their needs and expectations are identified. This has to be done by the top management
| Are the issues and interested party needs reviewed periodically | 4.1 | 4.1 | 4.1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | Yes | Look for records of review in MRM or internal MOM or data in Context Document
Management | Is the Policy developed for QEHS, are they displayed at prominent locations, are the people aware of the policies | 5.2 | 5.2 | 5.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Verify if the top managemnet has developed the QEHS Policy containing commitment to Customer Satisfaction, Legal Compliance, Accident Prevention, Environment Protection, Wellbeing, etc. Is is understood by persons (Check with few sample persons)
| Are responsiblilities, authorities and accountability clearly defined? | 5.3 | 5.3 | 5.3 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Look for organisation chart, detailed Job Descriptions, verify with 2 - 3 sample persons
| Look for evidence of consultation and participation of non managerial workers | NA | NA | 5.4 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Look for evidence of consulting workers for development of HIRA, Risks, Procedures etc. (Safety committee meetings, workshops etc.). Verify with down the line people if they are part of EHS consultation activities.
Business Risk | Are Business risks identified and being actioned? | 6.1.1 | 6.1.1 | 6.1.1 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Verify action for all high probability risks in risk and opportunities document. Cross check a few controls with actual practice. Look at Business Risk document.
| Are the risk ratings awarded as per defined procedures? | 6.1.1 | 6.1.1 | 6.1.1 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Verify ratings for sample risks as per guidelines
| Documented action plans available for risk control of significant risks? | 6.1.2 | 6.1.2 | 6.1.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Verify in defined format for all risks in significant category and see if actoins are being taken.
| Have teams understood the rating mechanism? | 7.2 | 7.2 | 7.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Randomly check with 4 - 5 persons
Aspect Impact/ HIRA | Are the Aspect Impact and HIRA documents reviewed periodically especially for any recent events? | NA | 6.1.2 | 6.1.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Check for new aspects/ modified ratings for all facility related activities. Ensure it inlcudes lifecycle approach for aspects and Social, ergonomic, behavioural risks in addition
| Does the HIRA / Aspect Impact cover all activities within the function/ site? | NA | 6.1.2 | 6.1.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Verify all activities are covered in th HIRA/Aspect Impact.
| Are the controls identified implemented? | NA | 6.1.2 | 6.1.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Randomly check 4 - 5 risk and controls e.g. PPE, Work permits, checklists etc.
Objectives and Planning | Are objectives defined for Quality, Health Safety & Environment for the Function? | 6.2.1 | 6.2.1 | 6.2.1 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Minimum one objective per department needed (preferable to have all 3 types) for Each Site.
| Are targets defined, data monitored and analysed (min 6 months)? | 6.2.2 | 6.2.2 | 6.2.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | The targets should be reasonably achievable within the scope. Look for data summary and achievement
| If targets are not met are documented action plans available? | 6.2.2 | 6.2.2 | 6.2.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Look for action, responsibility, target date, status of each target.
Compliance Obligation/ Legal and Other Requirements | Are all compliance obligations (legal and other requirements) available as a Register and is updated? | NA | 6.1.3 | 6.1.3 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | The Register must cover all EHS requirements inculding Safety & Environment related. Where applicable other requirements are also identified.
| Are evidences available for compliance obligations? | NA | 9.1.2 | 9.1.2 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | Look for records for last 6 months.
Work Environment & Infrastructure | Are all equipment installed maintained properly? | 7.1.3 | 8.1 | 8.1 | NA | NA | Yes | NA | NA | NA | NA | NA | NA | Yes | NA | Look for maintenance records, preventive maintenance records available for all key operations equipment.
| Are equipment AMC given for key equipment or in house maintenance systems established? | 7.1.3 | 9.1 | 9.1 | NA | NA | Yes | NA | NA | NA | NA | NA | NA | Yes | NA | Look for AMC records or inhouse service reports/ PM reports. In case of outsourced critical equipment, look for control over those equipment.
| Is the work environment Conducive? Employee Engagement Activities carried dout | 7.1.4 | 8.1 | 8.1 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Look for Lighting, Noise, Ventilation and also people related aspects such as stress,working hours, discrimination at local level.
Calibration of Monitoring & Measuring Resources | Are all instruments/ gauges listed and calibrated and Instruments Identified? | 7.1.5 | 9.1.1 | 9.1.1 | NA | NA | Yes | NA | NA | NA | NA | NA | NA | NA | NA | Check for list of instruments and their calibration status and look for instrument identification
| Are the calibration certificates traceable to NABL, NPL, NIST or equivalent? | 7.1.6 | 9.1.1 | 9.1.1 | NA | NA | Yes | NA | NA | NA | NA | NA | NA | NA | NA | Verify few calibration records, it should be valid, from agency with Traceable Calibration.
Human Resources | Is a competence criteria available | 7.2 | 7.2 | 7.2 | NA | NA | NA | NA | Yes | NA | NA | NA | NA | NA | NA | Look for Competence Criteria/ Skill Matrix to revew completence reqiurements. See few sample persons fit the criteria.
| Is adequate manpower available? | 7.1.2 | NA | NA | NA | NA | NA | NA | Yes | NA | NA | NA | NA | NA | NA | Verify if the persons as per organisation chart are avaliable. Is there any signs of resource constraint.
| Are training needs identified and training records available as per plan | 7.2 | 7.2 | 7.2 | NA | NA | NA | NA | Yes | NA | NA | NA | NA | NA | NA | Look for training Plans, Attendance Sheets, Certificates, Emails etc. Look for effectiveness of training through feedback or other means.
| Are people aware of policy, objectives, risk, aspects and effect of non compliance | 7.3 | 7.3 | 7.3 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Verify awareness with sample persons (policy, Aspect Impaxt, HIRA, Risk, roles etc.)
Organisational Knowledge | Is the knowledge Management Defined | 7.1.6 | NA | NA | NA | NA | NA | NA | Yes | NA | NA | NA | NA | NA | Yes | Look for data and document distribution and Knowledge and learning forums
Documented Information | Does the team have access to the Asset Management Manual and Other Documents ? | 7.5.1 | 7.5.1 | 7.5.1 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | The files are available on Embassy REIT Server, see if local document list is made. Verify whether the relevant department is ok.
| Are the formats defined in the procedures being used and same identification followed? | 7.5.1 | 7.5.1 | 7.5.1 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | The formats are available on Embassy Server. All teams should be following the latest formats. Check few sample
| Is a master list of documented information available and documents easily retrieved? | 7.5.2 | 7.5.2 | 7.5.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | This should be as per format defined in Server. Randomly check 4 - 5 records/ procedures for their retreivability
| Are the retention and dispostion defined for the retained information | 7.5.2 | 7.5.2 | 7.5.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Verify few samples for Retention of Data.
| Are there any changes to documents and are the changes approved? | 7.5.3 | 7.5.3 | 7.5.3 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | Look for changes to documentation, if any. If yes look for approval of changes and change history.
Quality Planning and Control, change management | Are procedures available for relevant process, followed and monitored? | 8.1 | NA | NA | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Check for the AMD document and verify performance as per plan
| Changes to plans incorporated and implemented | 6.3 | NA | 8.1.3 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | See If the plans are updated, people are informed. When changes occur impact on Quality, Health & Safety and Environment is evaluated?
Customer Oriented Activities | Are the customer needs determined, reviewed prior to commitment? | 8.2.3 | NA | NA | NA | NA | NA | NA | NA | Yes | NA | NA | NA | Yes | NA | Look for contracts, tenders, agreements, PO, Email, MOM etc that capture customer need
| Is Customer Feedback Taken including satisfaction and acted upon? | 8.2.1 | NA | NA | NA | NA | NA | NA | NA | Yes | NA | NA | NA | Yes | NA | Look for customer communication emails, complaints.
| Are post delivery activities taken care of | 8.5.5 | NA | NA | NA | NA | NA | NA | NA | Yes | NA | NA | NA | Yes | NA | Look for complaints management, customer requests and feedback
| Customer Satisfaction Survey Analysis available | 9.2.1 | NA | NA | NA | NA | NA | NA | NA | Yes | NA | NA | NA | Yes | NA | customer satisfaction surveys are available
Design & Development | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This Clause is currently not applicable
External Providers | Are their selection and evaluation records available for all external providers | 8.4.2 | NA | 8.1.4 | NA | NA | NA | NA | NA | NA | NA | NA | Yes | NA | NA | Look for Indents, Quotations and other evaluation mechanisms. Evaluation must include Quality, Health & Safety and Environment aspects as part of selection
| Are their performance monitoring and re-evaluation avaiable for all providers | 8.4.2 | NA | 8.1.4 | NA | NA | NA | NA | NA | NA | NA | NA | Yes | NA | NA | Look for performance rating on quality, delivery, service, EHS, Cost and other appropriate factors
| Are there PO Contracts available with all external providers | 8.4.3 | NA | 8.1.4 | NA | NA | NA | NA | NA | NA | NA | NA | Yes | NA | NA | Look for contracts with providers and inclusion of all terms and conditions
Operational Controls | Are site level Controls effectively implemented for QEHS | NA | 8.1 | 8.1 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | NA | Yes | NA | Look for operational controls for EHS (PPE, Signage, clear Pathways, Housekeeping, Work Permits, TBT etc.) Go for Site Round
| Are Hazardous Material Handling Done Adequately including disposal? | NA | 8.1 | 8.1 | Yes | Yes | Yes | Yes | NA | NA | Yes | Yes | NA | NA | NA | Look for MSDS, Storage Identification, Storage Conditions, Disposal Records. Inlcude E-waste, Batteries, Biomedical, Chemical and Oil, Domestic Waste
| Are operational log sheets, records available | 8.5.1 | 8.1 | 8.1 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | NA | Yes | NA | Look for Daily Reports, Operational Logs, Checksheets, implementation of QEHS related procedures e.g. PPE, work permits, controls etc. conduct floor level audit.
| Are controls for quality operations available (Work Procedures, Checklists, Inspections) and records available as appropriate? | 8.5.1 | 8.1 | 8.1 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | NA | Yes | NA | Look for work procedures for quality of services.Verify their implementation. Look for Checklists etc.
Emergency Preparedness | Are all emergencies covered in Plan (environmental / health Safety) | NA | 8.5.2 | 8.5.2 | NA | NA | NA | NA | NA | NA | Yes | NA | NA | NA | Yes | Look for emergency plans related to Environment and Health & Safety. Check previous mock drill plans.
| Are the fire control related equipment working? | NA | 8.5.2 | 8.5.2 | NA | NA | NA | NA | NA | NA | Yes | NA | NA | NA | Yes | Fire Extinguishers, Hydrants, Smoke Detectors, Sprinklers etc working and being tested
| Are mock drill records maintained | NA | 8.5.2 | 8.5.2 | NA | NA | NA | NA | NA | NA | Yes | NA | NA | NA | Yes | Verify periodic mock drills, actions on deficiencies if any
Material Identification/ Traceability | Are all the material/ Assets on site duly identified especialy with respect to their quality status | 8.5.2 | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | NA | Yes | NA | Look for Tags, Boards, Area Identification. Special focus on Rejected/ Not OK Material. Also unit numbers for assets.
| Do the material have proper traceability to batch numbers etc. | 8.5.2 | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | NA | Yes | NA | Look for Traceability to Batch Numbers etc. for consummables etc.
Customer and External Provider Property | Are their any material given by customers or external providers | 8.5.3 | NA | NA | Yes | Yes | NA | NA | NA | NA | NA | NA | NA | Yes | NA | Check for vehicles if parked on premises, equipment of contractors.
Preservation | Check for preservation of material | 8.5.4 | NA | NA | Yes | Yes | Yes | Yes | NA | NA | NA | Yes | NA | Yes | NA | Look for security (asset preservation), maintenance spares preservation, material preservation (stores), food safety (food Preservation)
Post Delivery Activities | Are there any contractual or non contractual obligations after delivering of product/ service and are their records to demonstrate their execution | 8.5.5 | NA | NA | Yes | Yes | Yes | Yes | NA | Yes | NA | NA | NA | Yes | Yes | Look for complaints from tenants, visitors
Release of Products and Services (Quality Control | Are their records of Quality Checks for various products / services at each stage? | 8.6 | NA | NA | Yes | Yes | Yes | Yes | Yes | NA | NA | Yes | NA | Yes | NA | Look for inspection records for material received from outside. Test Certificates. Look for Service Provider Checks (AMC/ Service Reports etc.) Look for Property Checks before and After Leasing Log Sheets of operations at service (supervisor checks)
Performance Evaluation/ General | Is data for performance for each process avaialble, is it analysis and then evaluated for trends and further action | 9.1 | 9.1 | 9.1 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Look for IMS Objectives, KPI Data, Trends, Measurements at each stage
Customer Satisfaction | Is customer Satisfaction evaluated and actions taken | 9.1.2 | NA | NA | NA | NA | NA | NA | NA | Yes | NA | NA | NA | Yes | NA | Look for C-SAT/ R-SAT for the site
Evaluation of Compliance | Legal compliance to be evaluated and records maintained | NA | 9.1.2 | 9.1.2 | NA | NA | NA | NA | NA | NA | Yes | NA | NA | Yes | Yes | Look for evidences of all legal compliances as defined in legal register
Analysis and evaluation of data | Is data for performance for each process avaialble, is it analysis and then evaluated for trends and further action | 9.1.3 | NA | NA | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Look for graphs, charts and actions for poor performance (Department KPI Like - Ontime Completion, RFI, Customer Satisfaction etc.)
Internal Audit Process | Look for Process and Plan for internal audit | 9.2.1 | 9.2.1 | 9.2.1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | Look for RCA and evidences for all NC for previous audit
Internal Audit Program | Internal audit plan, audit conducted NC close, corrections, root cause, corrective ations to be made | 9.2.2 | 9.2.2 | 9.2.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | NA | NA | Yes | Yes | Look for RCA and evidences for all NC for previous audit
Management Review Process | Look for Management Review inputs PPT, minutes of meeting | 9.3 | 9.3 | 9.3 | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | Yes | Look for availability of MRM data/ minutes at site
General | Look for Management Review inputs PPT, minutes of meeting | 9.3.1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | Yes | Look for availability of MRM data/ minutes at site
Management Review Input | Look for Management Review inputs PPT, minutes of meeting | 9.3.2 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | Yes | Look for availability of MRM data/ minutes at site
Management Review Output | Look for Management Review inputs PPT, minutes of meeting | 9.3.3 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Yes | Yes | Look for availability of MRM data/ minutes at site
Improvement General | Look for Improvement projects | 10.1 | 10.1 | 10.1 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Look for Improvement projects, graphs should show trend
Incident Investigation | Incident Investigation carried out | NA | NA | 10.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | NA | NA | Yes | Yes | Incidents investigation, root cause and corrective action done
NC and CA/ PA | NC analysis, correction, root cause, corrective action | 10.2 | 10.2 | 10.2 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | NA | NA | Yes | Yes | NC analysis, correction, root cause, corrective action
Continual Improvement | Look for Improvement projects | 10.3 | 10.3 | NA | Yes | Yes | Yes | Yes | Yes | Yes | Yes | NA | NA | Yes | Yes | Look for imrovement projects