## Activity
Activity Code (Should be unique for each Activity) | Form Name | Activity Name | Activity Type | Service Type | Asset Codes (Separated by ¦ [pipe]) | Frequency | Assigned Days | Day Of Month | Quarter | HalfYear | Year | Start Date (Date the task should be scheduled from) | Start Time | End Time | Task Duration (In Minutes) | Group Name
ACT-001 | Chiller Daily Checklist | Chiller Daily Checklist | JobCard | TECHSERVICES | LKVW000059¦LKVW000060¦LKVW000061¦LKVW000062¦LKVW000063 | onceinaday | [5 empty] | 2024-01-10 | 00:00:00 | 23:59:59 | 1440 | Building Manager

## Form Parameter
Activity Type | Activity Name | Parameter Label | Type | Options (Separated by Comma) | Display Order | UOM | Section
ACT-001 | Chiller Daily Checklist | Check if the Chiller is ON or OFF | Single Choice | ON,OFF | 1 | Status
ACT-001 | Chiller Daily Checklist | Check for general cleanliness of compressor, condensor,Chiller Areas & Accessories etc. | Single Choice | Cleaned,Not Cleaned | 2 | Status
ACT-011 | Chiller Daily Checklist | Check the chiller operation mode | Single Choice | Manual,Auto | 2 | Status
ACT-011 | Chiller Daily Checklist | Check the chiller all valve are open fully | Single Choice | Open, Closed | 3 | Status
ACT-011 | Chiller Daily Checklist | Check Crank case heater is working properly | Single Choice | Yes,No | 4 | Status
ACT-011 | Chiller Daily Checklist | Check the oil level in sight glass (L,M,H) | Single Choice | Normal,Abnormal | 5 | Status
ACT-011 | Chiller Daily Checklist | Check any abnormal noise and vibration in the chillers | Single Choice | Normal,Abnormal | 6 | Status
ACT-011 | Chiller Daily Checklist | Check the motor is over heating | Single Choice | Normal,Abnormal | 7 | Status
ACT-011 | Chiller Daily Checklist | Check the motor is taking over current | Single Choice | Normal,Abnormal | 8 | Status
ACT-011 | Chiller Daily Checklist | Check the oil leakage from chillers | Single Choice | Normal,Abnormal | 9 | Status
ACT-011 | Chiller Daily Checklist | Check the water leakage in the chillers | Single Choice | Normal,Abnormal | 10 | Status
ACT-011 | Chiller Daily Checklist | Check the pressure gauge | Single Choice | Normal,Abnormal | 11 | Status
ACT-011 | Chiller Daily Checklist | Check all electrical parts working properly | Single Choice | Normal,Abnormal | 12 | Status
ACT-011 | Chiller Daily Checklist | Check all parameters of the chiller are showing within set limits | Single Choice | Normal,Abnormal | 13 | Status
ACT-011 | Chiller Daily Checklist | Check the surrounding area of chillers | Single Choice | Normal,Abnormal | 14 | Status
ACT-011 | Chiller Daily Checklist | Check the operation of primary and Secondary pumps | Single Choice | Normal,Abnormal | 15 | Status
ACT-011 | Chiller Daily Checklist | Check for any leakages in chilled water line | Single Choice | Yes,No | 16 | Status
ACT-011 | Chiller Daily Checklist | Check the make up tank water level | Single Choice | Normal,Abnormal | 17 | Status
ACT-011 | Chiller Daily Checklist | Check the functioning of pressurisation pumps | Single Choice | Normal,Abnormal | 18 | Status
ACT-011 | Chiller Daily Checklist | Check quality of water used in the system | Single Choice | Normal,Abnormal | 19 | Status
ACT-011 | Chiller Daily Checklist | Check for any abnormal noise from CHILLER. | Single Choice | Normal,Abnormal | 20 | Status
ACT-011 | Chiller Daily Checklist | Check for visible damage and aging condition | Single Choice | Normal,Abnormal | 21 | Status

## Master Data
Activity Type | Service Type | Frequency | Group
JobCard | TECHSERVICES | unplanned | 1F MST
Planned | SOFTSERVICES | every1hour | 4F MST
Checklist | TRANSPORTSERVICES | every2hour | AHU Operator
Audit | SECURITYSERVICES | every3hour | Assistant Facility Manage
|  | every4hour | BCSL Security Guard
|  | every5hour | BMS Operator
|  | every6hour | Building Manager
|  | every7hour | Carpenter
|  | every8hour | Complex Manager
|  | every9hour | Customer Support
|  | every10hour | DG Operator
|  | every11hour | Digitalization Lead
|  | every12hour | Duty Manager
|  | twiceinaday | EHS Manager
Electrician
Engineer (Maintenance)
Fabricator (Welder)
Facility Team
Fire & Safety Officer
Fire Technician
Head SME
Helpdesk
HK Janitor
HK Lead (SP)
HK Supervisor
Horti Lead (SP)
Horticulture Supervisor
HVAC
HVAC Operator
HVAC Technician
Indentor
InventoryBM
InventoryFM
IT Team
Lift Operator
M&E
Maintainance
Manager
Mason
MCBS Security Guard
MEP Head
MHPL Security Guard
MIS Executive
MST
Oriole Team
Painter
Pantry Boy
Plumber
QHSE Campus Head
Security Guard
Security Lead (SP)
Security Manager
Security Officer
Security Safety officer
Security Supervisor
SITE SME
Site SME (Horticulture Se
Site SME (Soft Service)
SME
SME - Civil Infra
SME - Electrical
SME - Fire and Life Safety
SME - HVAC
SME - PHE
SME - STP and WTP
Stores
STP Operator
Technical Manager (Electri
Technical Manager (Mechani
Technical Supervisor
Technician
TQHSE Lead
Transport Desk
Unit Manager
Vittalreddy Security Guar
VP Assets