## Plumbing
Bagmane Developers Pvt. Ltd. Integrated Management System Plumbing and Sanitary Daily Checklist | [25 empty] | Document Number: BDPL OCP 10 F-02
Revision Date: December 31, 2024
Rev. No.: 03
Campus: |  |  |  |  | Building: | [11 empty] | Wing: | [8 empty] | Month:
S.N | Item Description | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | Water level in treated water tank.
2 | Hydro pneumatic system.
3 | Floor water status.
4 | Check the leakages of pipe line.
5 | Check the PHE shaft and sanitary line.
6 | Check the status of Fire Fighting System
7 | Check storm water collection tank at basement and dewater if required
8 | Check storm water chambers and clean if required.
9 | Monitoring of water intake and record.
10 | Monitor the water consumption.
11 | Check the rain water pipes for leakages and blockages
Checked By Plumber Sign.
Supervisor Sign
Remarks:
BM / BIC / AFM Sign.