## Helpdesk module
Nature of Request / Complaint
Category | Su-category | Issue | Issue Description | Responsible Group
Technical | Electrical | Power outage / no power supply |  | Electrical
Technical | Electrical | Light not working / flickering light |  | Electrical
Technical | Electrical | Switch / socket / MCB issue |  | Electrical
Technical | Electrical | UPS / inverter / DG not working |  | Electrical
Technical | Electrical | Transformer / panel tripping |  | Electrical
Technical | Electrical | Earthing / grounding issue |  | Electrical
Technical | Electrical | Wiring / cable damage |  | Electrical
Technical | Electrical | Energy meter / load fluctuation |  | Electrical
Technical | Electrical | Fan / exhaust not working |  | Electrical
Technical | Electrical | Street / landscape lighting issue |  | Electrical
Technical | Electrical | Emergency light failure |  | Electrical
Technical | Electrical | Power quality issue / surge |  | Electrical
Technical | Electrical | Preventive maintenance request |  | Electrical
Technical | HVAC | AHU / FCU not cooling / heating |  | HVAC
Technical | HVAC | Chiller plant issue / tripping |  | HVAC
Technical | HVAC | Air filter / coil cleaning required |  | HVAC
Technical | HVAC | Noise / vibration complaint |  | HVAC
Technical | HVAC | Low refrigerant / gas leak |  | HVAC
Technical | HVAC | Damper / actuator failure |  | HVAC
Technical | HVAC | BMS control / sensor fault |  | HVAC
Technical | HVAC | Condensate drain choke |  | HVAC
Technical | HVAC | Duct cleaning / maintenance request |  | HVAC
Technical | PHE | No water supply / low pressure |  | Plumbing
Technical | PHE | Water leakage (wall / ceiling / underground) |  | Plumbing
Technical | PHE | Tap / shower / flush not working |  | Plumbing
Technical | PHE | Blocked drain / choke |  | Plumbing
Technical | PHE | Toilet / urinal overflow |  | Plumbing
Technical | PHE | Pump not working / air lock |  | Plumbing
Technical | PHE | Tank overflow / level switch failure |  | Plumbing
Technical | PHE | STP / WTP / RO unit fault |  | Plumbing
Technical | PHE | Geyser / hot water issue |  | Plumbing
Technical | PHE | Odour complaint / sewage backup |  | Plumbing
Technical | PHE | Fire hydrant / sprinkler leakage |  | Plumbing
Technical | PHE | Plumbing line modification / extension |  | Plumbing
Technical | PHE | Preventive maintenance request |  | Plumbing
Technical | Civil | Wall / ceiling crack or damage |  | Civil
Technical | Civil | Paint touch-up / repainting needed |  | Civil
Technical | Civil | Door / window repair / alignment |  | Civil
Technical | Civil | Floor tile / marble / carpet damage |  | Civil
Technical | Civil | False ceiling / gypsum repair |  | Civil
Technical | Civil | Leakage / seepage / dampness |  | Civil
Technical | Civil | Masonry / plaster repair |  | Civil
Technical | Civil | Glass / glazing breakage |  | Civil
Technical | Civil | Furniture / carpentry repair |  | Civil
Technical | Civil | Minor fabrication / railing fix |  | Civil
Technical | Civil | Water proofing requirement |  | Civil
Soft Services | Housekeeping | Debris / civil waste removal |  | Housekeeping
Soft Services | Housekeeping | Cleaning not done / delayed |  | Housekeeping
Soft Services | Housekeeping | Spillage / stain removal required |  | Housekeeping
Soft Services | Housekeeping | Restroom cleaning / supplies refill |  | Housekeeping
Soft Services | Housekeeping | Deep cleaning / periodic cleaning request |  | Housekeeping
Soft Services | Housekeeping | Glass / window cleaning |  | Housekeeping
Soft Services | Housekeeping | Carpet / upholstery cleaning |  | Housekeeping
Soft Services | Housekeeping | Pantry cleaning |  | Housekeeping
Soft Services | Housekeeping | Garbage bin overflow |  | Housekeeping
Soft Services | Housekeeping | Cleaning schedule deviation |  | Housekeeping
Soft Services | Housekeeping | Pest infestation observed |  | Housekeeping
Security Services | Access Control | Access control issue / card not working |  | Access Control
Security Services | Access Control | Unauthorized entry / security incident |  | Access Control
Security Services | Access Control | CCTV not working / footage required |  | Access Control
Security Services | Access Control | Guard not available / absent |  | Access Control
Security Services | Access Control | Key / lock issue |  | Access Control
Security Services | Access Control | Lost & found report |  | Access Control
Security Services | Access Control | Escort / access assistance |  | Access Control
Security Services | Access Control | Fire alarm / security alarm triggered |  | Access Control
Security Services | Access Control | Visitor management issue |  | Access Control
Horticulture | Landscape Upkeep | Garden / lawn not maintained |  | Landscape Upkeep
Horticulture | Landscape Upkeep | Dry / dead plants replacement |  | Landscape Upkeep
Horticulture | Landscape Upkeep | Drip / irrigation line issue |  | Landscape Upkeep
Horticulture | Landscape Upkeep | Tree trimming / pruning required |  | Landscape Upkeep
Horticulture | Landscape Upkeep | Manure / fertilizer requirement |  | Landscape Upkeep
Horticulture | Landscape Upkeep | Landscape lighting issue |  | Landscape Upkeep
Horticulture | Landscape Upkeep | Pest / weed infestation |  | Landscape Upkeep
Horticulture | Landscape Upkeep | Seasonal plantation / flower bed update |  | Landscape Upkeep
Soft Services | Housekeeping | Garbage not collected |  | Housekeeping
Soft Services | Housekeeping | Waste bin overflow / replacement |  | Housekeeping
Soft Services | Housekeeping | Segregation issue (wet/dry) |  | Housekeeping
Soft Services | Housekeeping | Sanitary waste disposal |  | Housekeeping
Technical | EHS | Hazardous waste disposal request |  | EHS
Technical | EHS | E-waste / scrap disposal |  | EHS
Soft Services | Pest Control | Mosquito / fly issue |  | Pest Control
Soft Services | Pest Control | Cockroach / rodent infestation |  | Pest Control
Soft Services | Pest Control | Termite / ant problem |  | Pest Control
Soft Services | Pest Control | Fogging / pest treatment request |  | Pest Control
Soft Services | Pest Control | Snake / stray animal complaint |  | Pest Control
Transport | Transport | Vehicle booking request |  | Transport
Transport | Transport | Shuttle / cab delay |  | Transport
Transport | Transport | Driver not available |  | Transport
Transport | Transport | Vehicle breakdown |  | Transport
Admin | Office Support | Material / courier dispatch |  | Office Support
Admin | Office Support | Stationery request / stockout |  | Office Support
Admin | Office Support | Printing / photocopy issue |  | Office Support
Admin | Office Support | Pantry supply / vending machine issue |  | Office Support
Admin | Office Support | Meeting room setup request |  | Office Support
Admin | Office Support | Asset relocation / shifting |  | Office Support
Admin | Office Support | Lost & found item |  | Office Support