## Activity
Activity Code (Should be unique for each Activity) | Form Name | Activity Name | Activity Type | Service Type | Asset Codes (Separated by ¦ [pipe]) | Frequency | Assigned Days | Day Of Month | Quarter | HalfYear | Year | Start Date (Date the task should be scheduled from) | Start Time | End Time | Task Duration (In Minutes) | Group Name
ACT-0106 | AHU Quarterly Vendor PPM Checklist | AHU Quarterly Vendor PPM Checklist | Checklist | TECHSERVICES | TRDB001193¦TRDB001194¦TRDB001195¦TRDB001196¦TRDB001197¦TRDB001198¦TRDB001199¦TRDB001200¦TRDB001201¦TRDB001202¦TRDB001203¦TRDB001204¦TRDB001205¦TRDB001206¦TRDB001207¦TRDB001208¦TRDB001209¦TRDB001210¦TRDB001211¦TRDB001212¦TRDB001213¦TRDB001214¦TRDB001215¦TRDB001216¦TRDB001217¦TRDB001218¦TRDB001219¦TRDB001220¦TRDB001221¦TRDB001222¦TRDB001223¦TRDB001224¦TRDB001225¦TRDB001226¦TRDB001227¦TRDB001228¦TRDB001229¦TRDB001230¦TRDB001231¦TRDB001232 | twiceinaday | [5 empty] | 2025-05-09 | 00:00:00 | 23:59:00 | 0 | HVAC Technician

## Form Parameter
Activity Type | Activity Name | Parameter Label | Type | Options (Separated by Comma) | Display Order | UOM | Section
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check anti-vibration mountings | Single Choice | Done,Not Done | 1
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check motor and blower bearings | Single Choice | Done,Not Done | 2
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Remove and wash primary filters | Single Choice | Done,Not Done | 3
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Remove and wash secondary filters | Single Choice | Done,Not Done | 4
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check cooling coil and clean | Single Choice | Done,Not Done | 5
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check condensate drain for free flow | Single Choice | Done,Not Done | 6
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check and clean the plenum chamber | Single Choice | Done,Not Done | 7
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check bearings are lubricated | Single Choice | Done,Not Done | 8
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Chk the belt tension and adjust if reqd | Single Choice | Done,Not Done | 9
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check filter frames and proper sealing | Single Choice | Done,Not Done | 10
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check secureness of all doors and panels | Single Choice | Done,Not Done | 11
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check all gauges and thermometers | Single Choice | Done,Not Done | 12
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check for water leaks from coil | Single Choice | Done,Not Done | 13
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Resume the power and check the AHU | Single Choice | Done,Not Done | 14
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check the fan and motor drive unit | Single Choice | Done,Not Done | 15
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check and ensure the secureness of fan | Single Choice | Done,Not Done | 16
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check the condition for the access door | Single Choice | Done,Not Done | 17
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check and lubricate all the moving parts | Single Choice | Done,Not Done | 18
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check for volume control dampers | Single Choice | Done,Not Done | 19
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check acoustic lining for damage. | Single Choice | Done,Not Done | 20
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check impeller for free rotation. | Single Choice | Done,Not Done | 21
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check for dirt accumulation on impeller | Single Choice | Done,Not Done | 22
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check for damages in thermal insulation | Single Choice | Done,Not Done | 23
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check the unit for smooth operation. | Single Choice | Done,Not Done | 24
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check the air-flow through the unit. | Single Choice | Done,Not Done | 25
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check for corrosion in fittings & valve | Single Choice | Done,Not Done | 26
ACT-0106 | AHU Quarterly Inhouse PPM Checklist | Check clearance between blade and housing | Single Choice | Done,Not Done | 27

## Master Data
Activity Type | Service Type | Frequency | Group
JobCard | TECHSERVICES | unplanned | 1F MST
Planned | SOFTSERVICES | every1hour | 4F MST
Checklist | TRANSPORTSERVICES | every2hour | AGM
Audit | SECURITYSERVICES | every3hour | AHU Operator
|  | every4hour | Assistant Facility Manage
|  | every5hour | Audit Closure
|  | every6hour | AVP
|  | every7hour | BCSL Security Guard
|  | every8hour | BMS Operator
|  | every9hour | Building Manager
|  | every10hour | Campus Head
|  | every11hour | Campus Security Incharge
|  | every12hour | Carpenter
|  | twiceinaday | Cluster Civil SME
Cluster Electrical SME
Cluster Head
Cluster Horti SME
Cluster HVAC SME
Cluster Lead
Cluster PHE SME
Cluster QHSE&W SME
Cluster Security SME
Cluster Soft SME
Cluster Technical SME
Cluster Transition SME
Complex Head
Complex Manager
COO
Customer Support
Deputy Manager
DG Operator
Digitalization Lead
Duty Manager
EHS Manager
Electrician
Engineer (Maintenance)
Fabricator (Welder)
Facility Manager
Facility Team
Fire & Safety Officer
Fire Technician
GP Fire & Safety
GP Security
GP Soft Services
GP Technical Services
Head SME
Helpdesk
HK Janitor
HK Lead (SP)
HK Supervisor
Horti Lead (SP)
Horticulture Supervisor
HVAC
HVAC Operator
HVAC Technician
Indentor
InventoryBM
InventoryFM
IR Initiator
IT Team
Lift Operator
M&E
Maintainance
Manager
Mason
MCBS Security Guard
MEP Head
MHPL Security Guard
MIS Executive
MST
Oriole Team
Painter
Pantry Boy
Plumber
QHSE
QHSE Campus Head
Security Guard
Security Incharge
Security Lead (SP)
Security Manager
Security Officer
Security Safety officer
Security Supervisor
Shift Manager
SITE SME
Site SME (Horticulture Se
Site SME (Soft Service)
SME
SME - Civil Infra
SME - Electrical
SME - Fire and Life Safety
SME - HVAC
SME - PHE
SME - STP and WTP
Soft Services Campus Manag
Stores
STP Operator
Technical Manager (Electri
Technical Manager (Mechani
Technical Supervisor
Technician
TQHSE Lead
Transport Desk
Unit Manager
Vittalreddy Security Guar
VP
VP Assets
Work permit creator

## Sheet1
TRDB001193 | TRDB001194 | TRDB001195 | TRDB001196 | TRDB001197 | TRDB001198 | TRDB001199 | TRDB001200 | TRDB001201 | TRDB001202 | TRDB001203 | TRDB001204 | TRDB001205 | TRDB001206 | TRDB001207 | TRDB001208 | TRDB001209 | TRDB001210 | TRDB001211 | TRDB001212 | TRDB001213 | TRDB001214 | TRDB001215 | TRDB001216 | TRDB001217 | TRDB001218 | TRDB001219 | TRDB001220 | TRDB001221 | TRDB001222 | TRDB001223 | TRDB001224 | TRDB001225 | TRDB001226 | TRDB001227 | TRDB001228 | TRDB001229 | TRDB001230 | TRDB001231 | TRDB001232