## Sheet1
Bagmane Developers Pvt. Ltd. Integrated Management System List of Work Permit Activities | [5 empty] | Document Number: BDPL OCP 03 F-14
Revision Date: January 16, 2024
Rev. No.: 01
SL No | General Work permits Activities | Height Work permits Activities | HOT Work permits Activities | Confined space Work permits Activities | Electrical Work permits Activities | Excavation Work permits Activities | Lifting and Hoisting Work permits Activities
1 | Civil works (Painting , Wall Construction Pavers relaying work. | AC indoor/outdoor maintenance | Welding: Joining metals using high heat generated by electric arcs or gas flames, often required for structural repairs or modifications. | Sump Cleaning | Breaker & Panel Servicing | Below ground works more than 1.5 meters | All Crane Activities
2 | Mechanical Work | Boom Lift activities | Cutting and Brazing: Separating materials (metal, concrete, etc.) or joining metals by melting and flowing a filler metal into the joint. | HSD tank Cleaning | Transformer PM work | Foundation Work: Excavation for laying foundations for new buildings or structures. | Fork lift activities
3 | Plumbing works | Cable laying | Grinding or Sanding: Using abrasive wheels or tools that generate sparks or heat while shaping or smoothing surfaces, often for metal or concrete surfaces. | Media replacement | Electrical Wiring work | Utility Installation: Digging trenches for laying pipelines, electrical cables, or sewage systems. | Equipment Installation: Using cranes or hoists to install heavy equipment or machinery within the building.
4 | Calibration | Café exhaust cleaning | Soldering: Joining metals with a lower melting point filler metal, often used in plumbing or electrical work. | Strom water tank Cleaning | All works involving electrical isolation | Repair and Maintenance: Excavation for repairing or replacing underground utilities, pipes, or drainage systems. | Construction Materials Handling: Lifting and moving construction materials such as steel beams, concrete slabs, or prefabricated elements.
5 | FA & PA system | Canopy glass cleaning | Torch Work: Using blowtorches or heat guns for tasks like paint removal, heat shrink tubing, or sealant application. | Fire, Domestic & Flushing OHT cleaning | DG PM work | Drainage System Work: Excavating for installation or maintenance of drainage systems or stormwater management facilities. | HVAC Equipment Installation: Using lifting equipment to install heating, ventilation, and air conditioning (HVAC) systems, ductwork, or units.
6 | Routine Maintenance Work: General repair, cleaning, or maintenance of building structures, equipment, or systems. | Canopy Lights Replacing | Roofing Work: Applying roofing materials using torch-applied methods, often for repairs or new installations. | SUB soil Sump Cleaning | UPS PM work | Landscaping and Ground Preparation: Excavation for landscaping, grading, or preparing the ground for gardens, lawns, or outdoor spaces. | Roofing Material Handling: Hoisting roofing materials, such as shingles, tiles, or insulation, to upper levels during roof construction or repairs.
7 | Painting and Coating Application: Applying paint, protective coatings, or sealants on building surfaces or structures. | CCTV camera cleaning | Pipefitting: Cutting, welding, or brazing pipes for repairs or modifications to plumbing or HVAC systems. | STP tank Cleaning | HVAC / AHU system PM work | Installation of Underground Tanks: Digging for installing or removing underground fuel storage tanks or utility vaults. | Window Installation: Using hoisting equipment to install or replace windows, glass panels, or curtain walls at height.
8 | Electrical Work: Installation, repair, or maintenance of electrical systems, wiring, outlets, or fixtures. | CCTV camera replacement | Thawing Pipes: Using heat to thaw frozen pipes or materials in plumbing systems. | HVAC System Maintenance: Cleaning, repair, or maintenance of ducts, air handling units, or HVAC equipment located in confined spaces. | Fire pumps PM work | Footing Excavation: Digging trenches for footings or supports for structures or building extensions. | Facade Work: Lifting and placing facade elements, cladding, or panels during construction or refurbishment projects.
9 | Plumbing Tasks: Repair, maintenance, or installation of plumbing fixtures, pipes, or drainage systems. | Civil work (i.e. Plaster) | Hot Asphalt Work: Heating and applying hot asphalt materials for repairs or construction. | Plumbing Work: Inspection, repair, or maintenance of pipes, sewage systems, or plumbing components within crawl spaces, utility shafts, or access pits. | Pumps & Motors PM work | Site Preparation: Excavation work to clear or level the site before construction or renovation projects. | Machinery Maintenance: Using hoists or lifting equipment for maintenance or repair of machinery or equipment within the building.
10 | HVAC System Maintenance: Cleaning, repair, or maintenance of heating, ventilation, and air conditioning systems. | Cooling Tower Fan motor Issue Rectification | Heat Treatment or Annealing: Applying controlled heat to alter the properties of metals or materials. | Electrical Panel Maintenance: Inspection, repair, or installation of electrical panels, wiring, or equipment in confined spaces like electrical rooms or switchgear areas. | DG radiator Servicing | Soil Testing or Sampling: Excavation for collecting soil samples or conducting tests for construction or environmental assessments. | Elevator or Escalator Installation: Hoisting elevator or escalator components during installation or replacement.
| Flooring and Carpeting Work: Installation or repair of flooring materials, carpets, tiles, or other floor coverings. | Cradle shifting | Burning or Flame Cutting: Using oxygen-fuel cutting methods or thermal lances to cut or pierce materials. | Elevator Shaft Work: Inspection, cleaning, repair, or installation tasks within elevator shafts and associated components. | Electrical Installations: Installing new electrical systems, wiring, outlets, or fixtures within the building. | Trenchless Technology Work: Utilizing trenchless methods for pipe installation, repair, or rehabilitation, which may still involve localized excavation. | Lighting Fixtures Installation: Using hoisting equipment to install or replace lighting fixtures, chandeliers, or suspended lighting elements.
| Carpentry and Woodwork: Construction, repair, or installation of wooden structures, cabinets, or furniture. | Façade glass cleaning | Foundry Work: Melting and casting metals, common in certain building maintenance or renovation projects. | Fire System Inspection and Maintenance: Testing, repair, or maintenance of fire suppression systems, sprinklers, or fire control equipment in confined spaces like mechanical rooms or utility closets. | Electrical Repairs: Repairing or replacing faulty wiring, switches, sockets, or electrical components. | Road or Path Construction: Excavation for laying roads, pathways, or walkways within the building premises. | Heavy Furniture or Equipment Movement: Using lifting equipment for the relocation or installation of heavy furniture, appliances, or specialized equipment.
| Roofing Maintenance: Repair, inspection, or maintenance of roofing materials, gutters, or drainage systems. | Façade glass replacement | Forging: Shaping metals using heat and pressure, occasionally needed for repairs or custom fittings. | Storage Area Maintenance: Organization, cleaning, or maintenance within confined storage spaces like utility rooms or equipment storage areas. | Electrical Maintenance: Routine maintenance tasks for electrical systems, panels, or equipment to ensure proper functionality. | Excavation for Utilities Access: Digging access points or manholes for utility maintenance or inspection. | Artwork or Sculpture Installation: Hoisting and positioning large artworks or sculptures within the building premises.
| Window or Glass Work: Installation, repair, or replacement of windows, glass panels, or doors. | Lights Replacement above 6 ft | Hot Work in Confined Spaces: Any of the aforementioned hot work activities performed within confined spaces, which often require additional precautions and permits. | Utility Inspection: Regular checks and maintenance within confined spaces housing utilities such as water meters, gas lines, or utility vaults. | Panel Upgrades: Upgrading or replacing electrical panels for increased capacity or modernization. | Septic System Installation or Repair: Excavating for installing or repairing septic systems or leach fields. | Data Center Equipment Handling: Using hoisting equipment for the installation or relocation of servers, racks, or data center equipment.
| Equipment Installation or Removal: Installation, relocation, or removal of equipment, machinery, or appliances within the building. | MLTP top terrace cleaning |  | Structural Repair and Reinforcement: Repairs or reinforcement work on structural components within confined spaces like basements, crawl spaces, or shafts. | Lighting Installations or Upgrades: Installing or upgrading lighting fixtures, bulbs, or systems. | Cable or Conduit Installation: Digging trenches for burying cables or conduits for electrical or data lines. | Chimney or Flue Installation: Hoisting chimney or flue sections for installation in buildings with heating systems.
| Lighting System Work: Installation, repair, or maintenance of lighting fixtures, bulbs, or systems. | O/H water tank checking |  | Access Point Modifications: Alterations or improvements to access points, hatches, or entryways for safer and more efficient access to confined spaces. | Circuit Installations: Adding new circuits or modifying existing ones to accommodate additional electrical loads. | Fiber Optic Installation: Excavating for laying fiber optic lines or cable installations for communication networks. | Large Fixture Installation: Using lifting equipment for installing large fixtures, like water tanks or generators, in high-rise buildings.
| Security System Installation or Maintenance: Installation, repair, or maintenance of security systems, cameras, or access control systems. | Parking hanging signage replacement |  | Telecommunication Infrastructure Work: Maintenance or inspection of networking or telecommunications systems, server rooms, or data centers located in confined spaces. | Electrical System Testing: Conducting electrical tests, such as insulation resistance tests or continuity checks, to ensure safety and compliance. |  | Outdoor Signage Installation: Using hoists or cranes to install or replace large outdoor signage or billboards.
| Flooring Strip-out or Demolition: Removal or demolition of existing flooring materials or structures. | Parking Pipe dusting |  | Coating Applications: Application of protective coatings, paints, or sealants within confined spaces for structural protection or aesthetic enhancements. | Electrical Troubleshooting: Identifying and rectifying electrical faults, short circuits, or malfunctions.
| Fire Safety System Maintenance: Inspection, testing, or maintenance of fire alarms, extinguishers, or fire detection systems. | Pipe line laying work At basements & Shafts |  | Emergency System Checks: Regular inspection and maintenance of emergency systems like emergency lighting, alarms, or evacuation routes within confined spaces. | Generator Installations: Installing backup generators or ensuring their proper functioning and connectivity to the building's electrical systems.
| Building Inspections: Regular inspections for safety, structural integrity, or compliance with building codes. | Plumbing line repairing |  | Security System Maintenance: Inspection and maintenance of security equipment or systems situated in confined spaces like security rooms or control centers. | Electrical Safety Inspections: Periodic inspections to check for electrical hazards, code compliance, and safety measures.
| Interior Renovations or Refurbishments: Upgrading or renovating interior spaces, including partitions, walls, ceilings, or finishes. | Podium umbrella washing |  | Waste Management: Tasks involving waste removal, handling, or disposal within confined spaces such as waste storage rooms or compactors. | Electrical System Upgrades: Upgrading older electrical systems to meet current safety standards or energy efficiency requirements.
| Environmental Services: Hazardous material abatement, air quality testing, or mold remediation. | STP Tank cleaning and maintenance |  |  | Electrical Grounding and Bonding: Ensuring proper grounding and bonding of electrical systems for safety and functionality.
|  | Street Light Maintenance |  |  | Electrical Equipment Maintenance: Maintaining or servicing electrical equipment such as transformers, switchgear, or distribution panels.
|  | Top roof cleaning & maintenance |  |  | High-Voltage Work: Any work involving high-voltage systems, which requires specialized training and permits due to increased risks.
|  | Wall painting |  |  | Data Center Electrical Work: Installing, maintaining, or upgrading electrical systems in data centers or server rooms.
|  | Water proofing/Painting work at external/internal wall |  |  | Electrical System Shutdown and Isolation: Isolating electrical systems for maintenance or repair to prevent accidental activation.
Roof Maintenance and Repair: Inspections, repairs, or maintenance work on roofs, including fixing leaks, replacing shingles, or repairing flashing.
Window Cleaning: Cleaning exterior windows, especially in multi-story buildings, using lifts, scaffolding, or suspended platforms.
Façade Inspection and Repair: Inspections, repairs, or painting of building exteriors, often requiring scaffolding or aerial work platforms.
HVAC System Maintenance: Repair, cleaning, or maintenance of HVAC systems mounted on rooftops or elevated areas.
Signage Installation or Repair: Installation, maintenance, or repair of building signs, often requiring work at heights.
Lighting Installation or Maintenance: Installing, replacing, or maintaining exterior or high-level lighting fixtures around the building.
Gutter Maintenance: Cleaning, repairing, or replacing gutters and downspouts at elevated levels.
Exterior Cladding or Panel Work: Installation, repair, or maintenance of exterior cladding or panels on the building facade.
Painting or Coating Application: Applying paint, coatings, or sealants to building exteriors, often requiring work at heights.
Roof Access Point Maintenance: Inspection, repair, or maintenance of access points, hatches, or safety railings on rooftops or elevated areas.
Elevator Shaft Maintenance: Inspection, cleaning, or repair of elevator shafts or associated equipment at elevated levels.
Chimney or Flue Work: Inspection, repair, or maintenance of chimneys, flues, or ventilation systems.
Aerial Equipment Usage: Using aerial lifts, cherry pickers, or other elevated equipment for various maintenance tasks.
Skylight Maintenance: Cleaning, repair, or maintenance of skylights or light wells.
Fall Protection System Inspection: Periodic inspection, testing, or maintenance of fall protection systems like guardrails, lifelines, or safety nets.
Balcony or Terrace Work: Maintenance, repairs, or inspections of balconies, terraces, or outdoor spaces on upper levels of the building.